Standard Operating Procedure (SOP): Quality Control of Pharmaceutical Compound ABC-123

Document No: SOP-QC-ABC-123
Revision: 03
Effective Date: [Date]
Prepared by: Marcus Green, Technical Writer Specialist, Interest in Pharmaceutical Science
Approved by: [Approver's Name], Quality Control Manager

1. Purpose

This SOP outlines the procedure for the quality control testing of Pharmaceutical Compound ABC-123, ensuring compliance with regulatory standards, safety, and efficacy.

2. Scope

This SOP applies to laboratory analysts and quality control personnel involved in testing and analyzing Compound ABC-123 within the Quality Control Department at [Company Name].

3. Responsibilities

- Quality Control Analyst: Conducting tests as per the SOP.

- Supervisor: Reviewing test results, ensuring adherence to the SOP.

- Quality Assurance Manager: Auditing the process, approving the SOP.

4. Materials and Equipment

- Materials: Pharmaceutical Compound ABC-123, Standard Reference Material.

- Equipment: HPLC, UV-Vis Spectrophotometer, pH Meter, etc.

5. Procedure

5.1 Sample Preparation

- Weigh accurately 10 mg of Compound ABC-123.

- Dissolve in 100 ml of the solvent to prepare a 100 µg/ml solution.

5.2 Purity Analysis

- Analyze the sample using HPLC as per method XYZ.

- Compare the peak purity with the Standard Reference Material.

5.3 Content Analysis

- Conduct a UV-Vis spectrophotometric analysis to determine the content.

- Calculate the percentage of the active compound.

5.4 Stability Testing

- Assess the stability under various conditions (temperature, humidity).

- Record observations over the specified time periods.

5.5 Reporting and Documentation

- Record all results, calculations, and observations in the QC report.

- Maintain traceability of the sample, including batch number, date, and analyst name.

6. Safety Considerations

- Follow laboratory safety guidelines.

- Wear appropriate personal protective equipment (PPE).

7. Records

- Store all quality control records for a minimum of 7 years.

8. Revision History

- Rev 01: [Description of Changes]

- Rev 02: [Description of Changes]

- Rev 03: [Description of Changes]

9. Appendices

- Appendix A: HPLC Method XYZ

- Appendix B: UV-Vis Spectrophotometric Method

End of SOP